## Data
SKU | PRODUCT NAME | BRAND | Family | UNIT PRICE 11% OFF | UNIT PRICE
3671739 | Eaton Type CH 20-Amp 1-Pole CAFCI/GFCI Circuit Breaker | Eaton | Breaker | 56.94 | 64.0575
3671735 | Eaton Type CH 15-Amp 1-Pole CAFCI/GFCI Circuit Breaker | Eaton | Breaker | 56.94 | 64.0575
3671731 | Eaton Type CH 15-Amp 1-Pole CAFCI/GFCI Circuit Breaker | Eaton | Breaker | 56.94 | 64.0575
3671767 | Eaton Type BR 20-Amp 1-Pole CAFCI/GFCI Circuit Breaker | Eaton | Breaker | 60.5 | 68.0625
3671765 | Eaton Type BR 15-Amp 1-Pole CAFCI/GFCI Circuit Breaker | Eaton | Breaker | 60.5 | 68.0625
3671733 | Eaton Type CH 20-Amp 1-Pole CAFCI/GFCI Circuit Breaker | Eaton | Breaker | 53.38 | 60.0525
3671761 | Eaton Type BR 15-Amp 1-Pole CAFCI/GFCI Circuit Breaker | Eaton | Breaker | 50.69 | 57.0262
3671763 | Eaton Type BR 20-Amp 1-Pole CAFCI/GFCI Circuit Breaker | Eaton | Breaker | 50.69 | 57.0262
3670131 | Siemens®15 Amp 1-Pole Combination AFCI Plug-On Neutral Circuit Breake | Siemens | Breaker | 40.92 | 46.035
3670153 | Siemens® 20 Amp 1-Pole Dual Function (CAFCI/GFCI) Plug-On Neutral Circuit Breaker | Siemens | Breaker | 49.82 | 56.0475
3670133 | Siemens®20 Amp 1-Pole Combination AFCI Plug-On Neutral Circuit Breake | Siemens | Breaker | 40.92 | 46.035
3670151 | Siemens®15 Amp 1-Pole Dual Function (CAFCI/GFCI) Plug-On Neutral Circuit Breaker | Siemens | Breaker | 49.82 | 56.0475
3674925 | Square D™ QO™ 100-Amp 2-Pole Main Circuit Breaker | Square D | Breaker | 68.07 | 76.5787
3674954 | Square D™ QO™ 2-Pole Tandem Circuit Breaker | Square D | Breaker | 22.5 | 25.3125
3674611 | Square D™ Homeline™ 2-Pole Tandem Circuit Breaker | Square D | Breaker | 13.34 | 15.0075
3674938 | Square D™ QO™ Homeline™ 200-Amp 2-Pole Main Circuit Breaker | Square D | Breaker | 78.3 | 88.0875
3675092 | Square D™ QO™ 2-Pole GFCI Circuit Breaker | Square D | Breaker | 131.72 | 148.185
3674750 | Square D™ Homeline™ 1-Pole GFCI Circuit Breaker | Square D | Breaker | 38.19 | 42.9637
3671644 | Square D™ Homeline™ 15-Amp 1-Pole AFCI Circuit Breaker | Square D | Breaker | 43.6 | 49.05
3675005 | Square D™ QO™ 2-Pole Standard Circuit Breaker | Square D | Breaker | 26.5 | 29.8125
3674640 | Square D™ Homeline™ 1-Pole Standard Circuit Breaker | Square D | Breaker | 7.11 | 7.9988
3671611 | Square D™ QO™ 1-Pole Dual Function Circuit Breaker | Square D | Breaker | 52.49 | 59.0513
3671602 | Square D™ QO™ 1-Pole AFCI Circuit Breaker | Square D | Breaker | 45.37 | 51.0412
3674956 | Square D™ QO™ 2-Pole Tandem Circuit Breaker Replacement | Square D | Breaker | 68.51 | 77.0738
3674679 | Square D™ Homeline™ 2-Pole Standard Circuit Breaker | Square D | Breaker | 14.23 | 16.0087
3674970 | Square D™ QO™ 1-Pole Standard Circuit Breaker | Square D | Breaker | 10.09 | 11.3513
3671653 | Square D™ Homeline™ 1-Pole Dual Function Circuit Breaker | Square D | Breaker | 50.71 | 57.0487
3675102 | Square D™ QO™ 15-Amp 1-Pole GFCI Circuit Breaker | Square D | Breaker | 54.56 | 61.38
3671646 | Square D™ Homeline™ 1-Pole AFCI Circuit Breaker | Square D | Breaker | 46.26 | 52.0425
3671605 | Square D™ QO™ 1-Pole AFCI Circuit Breaker | Square D | Breaker | 48.05 | 54.0562
3674420 | Square D™ Homeline™ 50-Amp 2-Pole GFCI Circuit Breaker | Square D | Breaker | 95.23 | 107.1338
3671608 | Square D™ QO™ 15-Amp 1-Pole Dual Function Circuit Breaker | Square D | Breaker | 52.49 | 59.0513
3670124 | Siemens® QT 1-Pole Non-Circuit Limiting Tandem Circuit Breaker | Siemens | Breaker | 32.47 | 36.5288
3670120 | Siemens® QT 1-Pole Tandem Circuit Breaker | Siemens | Breaker | 12.89 | 14.5013
3670150 | Siemens® QP 1-Pole AFCI/GFCI Circuit Breaker | Siemens | Breaker | 52.49 | 59.0513
3670130 | Siemens® QPF 1-Pole AFCI Circuit Breaker | Siemens | Breaker | 43.15 | 48.5437
3671739 | Eaton Type CH 20-Amp 1-Pole CAFCI/GFCI Circuit Breaker | Eaton | Breaker | 56.94 | 64.0575
3671735 | Eaton Type CH 15-Amp 1-Pole CAFCI/GFCI Circuit Breaker | Eaton | Breaker | 56.94 | 64.0575
3671731 | Eaton Type CH 15-Amp 1-Pole CAFCI/GFCI Circuit Breaker | Eaton | Breaker | 56.94 | 64.0575
3671767 | Eaton Type BR 20-Amp 1-Pole CAFCI/GFCI Circuit Breaker | Eaton | Breaker | 60.5 | 68.0625
3671765 | Eaton Type BR 15-Amp 1-Pole CAFCI/GFCI Circuit Breaker | Eaton | Breaker | 60.5 | 68.0625
3671733 | Eaton Type CH 20-Amp 1-Pole CAFCI/GFCI Circuit Breaker | Eaton | Breaker | 53.38 | 60.0525
3671761 | Eaton Type BR 15-Amp 1-Pole CAFCI/GFCI Circuit Breaker | Eaton | Breaker | 50.69 | 57.0262
3671763 | Eaton Type BR 20-Amp 1-Pole CAFCI/GFCI Circuit Breaker | Eaton | Breaker | 50.69 | 57.0262
3670131 | Siemens®15 Amp 1-Pole Combination AFCI Plug-On Neutral Circuit Breake | Eaton | Breaker | 40.92 | 46.035
3670153 | Siemens® 20 Amp 1-Pole Dual Function (CAFCI/GFCI) Plug-On Neutral Circuit Breaker | Eaton | Breaker | 49.82 | 56.0475
3670133 | Siemens®20 Amp 1-Pole Combination AFCI Plug-On Neutral Circuit Breake | Eaton | Breaker | 40.92 | 46.035
3670151 | Siemens®15 Amp 1-Pole Dual Function (CAFCI/GFCI) Plug-On Neutral Circuit Breaker | Eaton | Breaker | 49.82 | 56.0475
3670342 | Siemens SN Series 200-Amp 30-Space 48-Circuit Main Breaker Plug-On Neutral Load Cente... | Siemens | Main Breaker | 163.76 | 184.23
3670302 | Siemens SN Series 100-Amp 20-Space 20-Circuit Main Breaker Plug-On Neutral Load Cente... | Siemens | Main Breaker | 77.41 | 87.0862
3674803 | Square D™ QO™ 100 -Amp 12-Space 12-Circuit Indoor Main Breaker Load Center | Siemens | Main Breaker | 97.01 | 109.1363
3676354 | Eaton Type BR 200-Amp 40-Space 80-Circuit Indoor Main Breaker Load Center Value Pack | Eaton | Main Breaker | 154.86 | 174.2175
3676352 | Eaton Type BR 100-Amp 30-Space 60-Circuit Indoor Main Breaker Load Center Value Pack | Eaton | Main Breaker | 84.9 | 95.5125
3676199 | Eaton Type BR 100-Amp 12-Space 24-Circuit Indoor Main Breaker Load Center | Eaton | Main Breaker | 70.15 | 78.9188
3676353 | Eaton Type BR 200-Amp 30-Space 60-Circuit Indoor Main Breaker Load Center Value Pack | Eaton | Main Breaker | 154.86 | 174.2175
3676351 | Eaton Type BR 100-Amp 20-Space 40-Circuit Indoor Main Breaker Load Center Value Pack | Eaton | Main Breaker | 83.66 | 94.1175
3674385 | Square D™ Homeline™ 200 -Amp 30-Space 60-Circuit Indoor Main Breaker Load... | Square D | Main Breaker | 115.7 | 130.1625
3674875 | Square D™ QO™200 -Amp 42-Space 42-Circuit Indoor Main Breaker Load Center... | Square D | Main Breaker | 248.31 | 279.3487
3674380 | Square D™ Homeline™ 100 -Amp 20-Space 40-Circuit Indoor Main Breaker Load... | Square D | Main Breaker | 78.54 | 88.3575
3674871 | Square D™ QO™ 200 -Amp 42-Space 42-Circuit Main Breaker Indoor Load Cente... | Square D | Main Breaker | 285.68 | 321.39
3674440 | Square D™ Homeline™ 200 -Amp 40-Space 80-Curcuit Indoor Main Breaker Loa... | Square D | Main Breaker | 143.29 | 161.2012
3674438 | Square D™ Homeline™ 200 -Amp 30-Space 60-Circuit Indoor Main Breaker Load... | Square D | Main Breaker | 121.04 | 136.17
3674851 | Square D™ QO™ 200 -Amp 30-Space 30-Circuit Main Breaker Indoor Load Center | Square D | Main Breaker | 177.11 | 199.2488
3674434 | Square D™ Homeline™ 100 -Amp 24-Space 48-Circuit Indoor Main Breaker Load... | Square D | Main Breaker | 80.97 | 91.0913
3674822 | Square D™ QO™ 100 -Amp 24-Space 24-Circuit Main Breaker Outdoor Load Center | Square D | Main Breaker | 137.95 | 155.1937
3674432 | Square D™ Homeline™ 100 -Amp 20-Space 40-Circuit Indoor Main Breaker Loa... | Square D | Main Breaker | 85.25 | 95.9062
3674821 | Square D™ QO™ 100 -Amp 24-Space 24-Circuit Main Breaker Indoor Load Cente... | Square D | Main Breaker | 168.21 | 189.2363
3674430 | Square D™ Homeline™ 100 -Amp 8-Space 16-Circuit Indoor Main Breaker Load ... | Square D | Main Breaker | 71.18 | 80.0775
3676315 | Eaton Type BR 100-Amp 10-Space 20-Circuit Indoor Main Breaker Load Center Value Pack | Eaton | Main Breaker | 68.11 | 76.6238
3676370 | Eaton Type CH 100-Amp 22-Space 44-Circuit Indoor Main Breaker Load Center Value Pack | Eaton | Main Breaker | 107.69 | 121.1513
3676371 | Eaton Type CH 200-Amp 42-Space 84-Circuit Indoor Main Breaker Load Center Value Pack | Eaton | Main Breaker | 194.91 | 219.2738
3674390 | Square D™ Homeline™ 200 -Amp 40-Space 80-Circuit Indoor Main Breaker Loa... | Square D | Main Breaker | 158.42 | 178.2225
3675377 | Square D™ QO™ 200 -Amp 8-Space 16-Circuit Outdoor Commercial Main Breaker... | Square D | Main Breaker | 168.92 | 190.035
3675093 | Square D™ QO™ 50 -Amp Spa Panel - Value Pack | Square D | Main Breaker | 124.6 | 140.175
3676157 | Eaton Type BR 125 Amp 4-Space 8-Circuit Outdoor Main Lug Load Center | Eaton | Main Lug | 32.47 | 36.5288
3670202 | Siemens SN Series 125 Amp 12-Space 24-Circuit Main Lug Plug-On Neutral Load Center In... | Siemens | Main Lug | 48.58 | 54.6525
3674919 | Square D™ QO™ Plug-on 125 amp 12-Space/12-Circuit Indoor Main Lug Load Ce... | Square | Main Lug | 56.94 | 64.0575
3676186 | Eaton Type BR 125 Amp 12-Space 24-Circuit Indoor Main Lug Load Center | Eaton | Main Lug | 37.35 | 42.0188
3674910 | Square D™ QO™ 100 amp 8-Space 16-Circuit Indoor Commercial Main Lugs | Square D | Main Lug | 37.87 | 42.6037
3674572 | Square D™ Homeline™ 100 amp 6-Space 12-Circuit Indoor Main Lug Load Center | Square D | Main Lug | 20.9 | 23.5125
3674763 | Square D™ Homeline™ 70 amp 2-Space 4-Circuit Outdoor Main Lug Load Center | Square D | Main Lug | 26.7 | 30.0375
3674556 | Square D™ Homeline™ 70 amp 2-Space 4-Circuit Indoor Residential Main Lugs | Square D | Main Lug | 17.79 | 20.0137
3674886 | Square D™ QO™ 30 amp 2-Space Indoor Commercial Main Lugs Load Center | Square D | Main Lug | 16 | 18
3674920 | Square D™ QO™ 125 amp 24-Space Main Lug Indoor Load Center - Value pk | Square D | Main Lug | 114.27 | 128.5538
3674569 | Square D™ Homeline™ 70 amp 2-Space 4-Circuit Indoor Residential Main Lugs | Square D | Main Lug | 17.79 | 20.0137
3674913 | Square D™ QO™ 100 amp 8-Space 16-Circuit Outdoor Main Lug Load Center | Square D | Main Lug | 73.65 | 82.8563
3674427 | Square D™ Homeline™ 125 amp 12-Space Indoor Main Lug - Value pk | Square D | Main Lug | 48.59 | 54.6638
3674425 | Square D™ Homeline™ 125 amp Plug-on 8-Space 16-Circuit Indoor Main Lug | Square D | Main Lug | 37.81 | 42.5363
3674894 | Square D™ QO™ 60 amp 2-Space 4-Circuit Outdoor Main Lug Load Center | Square D | Main Lug | 27.13 | 30.5212
3674598 | Square D™ Homeline™ 100 amp 6-Space Outdoor Residential Main Lugs | Square D | Main Lug | 36.47 | 41.0288
3674909 | Square D™ QO™ 100 amp 6-Space 12-Circuit Commercial Indoor Main Lug | Square D | Main Lug | 26.68 | 30.015
3674912 | Square D™ QO™ 100 amp 6-Space 12-Circuit Outdoor Main Lug Load Center | Square D | Main Lug | 42.26 | 47.5425
3674585 | Square D™ Homeline™ 100 amp 6-Space Indoor Residential Main Lugs | Square D | Main Lug | 20.9 | 23.5125
3674896 | Square D™ QO™ 70 amp 2-Space Outdoor Main Lug Commercial Load Center | Square D | Main Lug | 40.92 | 46.035
3674899 | Square D™ QO™ 70 amp 2-Space 4-Circuit Indoor Commercial Main Lugs | Square D | Main Lug | 19.56 | 22.005
3670180 | Siemens 60 Amp Outdoor Main Lug Load Center | Siemens | Main Lug | 35.16 | 39.555
3670185 | Siemens 125 Amp 4 Space 8 Circuit Indoor Main Lug Load Center | Siemens | Main Lug | 22.96 | 25.83
3670186 | Siemens® 125-Amp 4-Space 8-Circuit Outdoor Main Lug Load Center | Siemens | Main Lug | 39.59 | 44.5388
3670195 | Siemens 125 Amp 8 Space 16 Circuit Indoor Main Lug Load Center | Siemens | Main Lug | 43.15 | 48.5437
3670196 | Siemens 125 Amp 8 Space 16 Circuit Outdoor Main Lug Load Center | Siemens | Main Lug | 58.72 | 66.06
3676130 | Eaton Type BR 70-Amp Main Lug Load Center | Eaton | Main Lug | 28.02 | 31.5225
3676143 | Eaton Type BR 125-Amp Main Lug Load Center | Eaton | Main Lug | 18.23 | 20.5087
3676172 | Eaton Type BR 125-Amp Main Lug Load Center | Eaton | Main Lug | 44.7 | 50.2875
3676127 | Eaton Type BR 70-Amp Main Lug Load Center | Eaton | Main Lug | 15.91 | 17.8987
3676169 | Eaton Type BR 125-Amp Main Lug Load Center | Eaton | Main Lug | 28.76 | 32.355
SN4040L1200 | Siemens SN Series 200 Amp 40-Space 40-Circuit Main Lug Plug-On Neutral Load Center In... | Siemens | Main Lug | 126.71 | 142.5487
SN3048L1200 | Siemens SN Series 200 Amp 30-Space 48-Circuit Main Lug Plug-On Neutral Load Center In... | Siemens | Main Lug | 114.47 | 128.7788
PN3048L1200C | Siemens PN Series 200 Amp 30-Space 48-Circuit Main Lug Plug-On Neutral Load Center In... | Siemens | Main Lug | 113.54 | 127.7325
PN2020L1125C | Siemens PN Series 125 Amp 20-Space 20-Circuit Main Lug Plug-On Neutral Load Center In... | Siemens | Main Lug | 70.54 | 79.3575
PNW1224L1125C | Siemens PN Series 125 Amp 12-Space 24-Circuit Main Lug Plug-On Neutral Load Center Ou... | Siemens | Main Lug | 88.39 | 99.4387
SN2020L1125 | Siemens SN Series 125 Amp 20-Space 20-Circuit Mainl Lug Plug-on Neutral Load center I... | Siemens | Main Lug | 54 | 60.75
SN2040L1200 | Siemens SN Series 200 Amp 20-Space 40-Circuit Main Lug Plug-On Neutral Load Center In... | Siemens | Main Lug | 92.52 | 104.085
QO2100BNRB | Square D™ QO™ 100 amp Outdoor Circuit Breaker Enclosure | Square D | Main Lug | 54.01 | 60.7612
QO612L100DS | Square D™ QO™ 100 amp 6-Space 12-Circuit Indoor Main Lug Load Center | Square D | Main Lug | 54.64 | 61.47
QO612L100FCP | Square D™ QO™ 100 amp 6-Space 12-Circuit Indoor Main Lug Load Center | Square D | Main Lug | 31.23 | 35.1337
QO2L40RBCP | Square D™ QO™ 40 amp 2-Space 2-Circuit Outdoor Main Lug Load Center | Square D | Main Lug | 46.81 | 52.6613
3675173 | Square D™ QO™ 100 amp Outdoor Commercial Circuit Breaker Enclosure | Square D | Main Lug | 74.48 | 83.79
QO816L100DF | Square D™ QO™ 100 amp 8-Space 16-Circuit Indoor Main Lug Load Center | Square D | Main Lug | 57.93 | 65.1713
QO24L70FCP | Square D™ QO™ 70 amp 2-Space 4-Circuit Indoor Main Lug Load Center | Square D | Main Lug | 18.95 | 21.3187
HOM1224L125PGC | Homeline™ Plug-on 125 amp 12-Space 24-Circuit Main Lug Indoor Load Center | Homeline™ Plug | Main Lug | 45.74 | 51.4575
QO816L100DS | Square D™ QO™ 100 amp 8-Space16-Circuit Indoor Main Lug Load Center | Square D | Main Lug | 83.65 | 94.1063
QO48M30DSGP | Square D™ 30 amp 120/240 V Generator Panel | Square D | Main Lug | 139.37 | 156.7912
HOM1224L125PC | Homeline™ Plug-on 125 amp 12-Space 24-Circuit Main Lug Indoor Load Center | Homeline™ Plug | Main Lug | 45.74 | 51.4575
QO48M60DSGP | Square D™ 60 amp 120/240 V Generator Panel | Square D | Main Lug | 139.37 | 156.7912
QO612L100DF | Square D™ QO™ 100 amp 6-Space 12-Circuit Indoor Main Lug Load Center | Square D | Main Lug | 56.86 | 63.9675
QO816L100FCP | Square D™ QO™ 100 amp 8-Space 16-Circuit Indoor Main Lug Load Center | Square D | Main Lug | 53.57 | 60.2662
HOM12L225PRB | Homeline™ Plug-on 225 amp 12-Space 12-Circuit Main Lug Outdoor Load Center | Homeline™ Plug | Main Lug | 88.1 | 99.1125
QO2100BNS | Square D™ QO™ 100 amp Circuit Breaker Enclosure | Square D | Main Lug | 55.79 | 62.7638
3BR1224L125R | Eaton Type BR 125-Amp Main Lug Load Center 3-phase | Eaton Type | Main Lug | 178.44 | 200.745
3670172 | Siemens PN Series 125 Amp 12-Space 24-Circuit Main Lug Plug-On Neutral Load Center In... | Siemens | Main Lug | 61.39 | 69.0637
3675215 | Eaton 60A Outdoor Disconnect | Eaton | Disconnect | 12.45 | 14.0062
3676350 | Eaton 100-Amp 120/240V Enclosed Breaker | Eaton | Enclosed Breaker | 61.81 | 69.5362
3678001 | Eaton 40-Amp 2-Pole 24V Definite Purpose Contactor | Eaton | Contactor | 20.57 | 23.1412
3676389 | Eaton 60-Amp 120/240V Outdoor Air Conditioner Disconnect | Eaton | Disconnect | 13.34 | 15.0075
3676363 | Eaton 200-Amp 240V Enclosed Breaker | Eaton | Enclosed Breaker | 140.62 | 158.1975
3678010 | Eaton 30-Amp 1-Pole 24V Definite Purpose Contactor | Eaton | Contactor | 13.79 | 15.5137
3678035 | Eaton 30-Amp 2-Pole 240V Definite Purpose Contactor | Eaton | Contactor | 13.79 | 15.5137
3678040 | Eaton 40-Amp 2-Pole 24V Definite Purpose Contactor | Eaton | Contactor | 26.66 | 29.9925
3678045 | Eaton 30-Amp 2-Pole 120V Definite Purpose Contactor | Eaton | Contactor | 16.53 | 18.5963
3676457 | Eaton 50-Amp 240V Spa Panel | Eaton | Spa Panel | 77.41 | 87.0862
3678000 | Eaton 30-Amp 2-Pole 24V Definite Purpose Contactor | Eaton | Contactor | 18.2 | 20.475
GF221NAU | Siemens 30-Amp 240V Fusible Disconnet | Siemens | Disconnect | 25.26 | 28.4175
GF222NA | Siemens 60-Amp 240V Fusible Disconnet | Siemens | Disconnect | 43.65 | 49.1062
L221N | Square D™ 30-Amp 120V Fusible Safety Switch | Square D | Saftey Switch | 34.35 | 38.6438
D321NCP | Square D™ 30-Amp 240V Fusible Safety Switch | Square D | Saftey Switch | 82.49 | 92.8012
D223NRB | Square D™ 100-Amp 240V Fusible Safety Switch | Square D | Saftey Switch | 154.94 | 174.3075
3675199 | Square D™ 30-Amp 120/240V Fusible Safety Switch | Square D | Saftey Switch | 28.39 | 31.9387
3675144 | Square D™ 30-Amp 120/240V Fusible Safety Switch | Square D | Saftey Switch | 49.84 | 56.07
D224NRB | Square D™ QO™ 200-Amp 240V Fusible Safety Switch | Square D | Saftey Switch | 385.63 | 433.8338
D223N | Square D™ 100-Amp 240V Fusible Safety Switch | Square D | Saftey Switch | 131.53 | 147.9712
L111N | Square D™ 30-Amp 120V Fusible Safety Switch | Square D | Saftey Switch | 35.41 | 39.8362
D221NRBCP | Square D™ QO™ 30-Amp 240V Fusible Safety Switch | Square D | Saftey Switch | 78.04 | 87.795
3675212 | Square D™ 60-Amp 240V Fusible Safety Switch | Square D | Saftey Switch | 57.16 | 64.305
D321NRBCP | Square D™ QO™ 30-Amp 240V Fusible Safety Switch | Square D | Saftey Switch | 129.31 | 145.4737
3675160 | Square D™ 60-Amp 240V Non-Fusible Safety Switch | Square D | Saftey Switch | 15.58 | 17.5275
D322N | Square D™ QO™ 60-Amp 240V Fusible Safety Switch | Square D | Saftey Switch | 195.08 | 219.465
D322NRB | Square D™ 60-Amp 240V Fusible Safety Switch | Square D | Saftey Switch | 267.53 | 300.9712
D222NRBCP | Square D™ 60-Amp 240V Fusible Safety Switch | Square D | Saftey Switch | 102.52 | 115.335
WF2060U | Siemens 60-Amp 240V Fusible AC Disconnect Switch | Siemens | Disconnect | 14.04 | 15.795
3673452 | Eaton 60-Amp 120/240 Outdoor Air Conditioner Disconnect | Eaton | Disconnect | 39.82 | 44.7975
3676376 | Eaton 30-Amp 20/240V Outdoor Disconnect | Eaton | Disconnect | 10.53 | 11.8462
3675678 | Eaton 60-Amp 120/240 Outdoor Disconnect | Eaton | Disconnect | 13.8 | 15.525
3676458 | Eaton 50-Amp 120/240V Spa Panels | Eaton | Spa Panel | 100.95 | 113.5688
3676459 | Eaton 60-Amp 120/240A Spa Panels | Eaton | Spa Panel | 100.95 | 113.5688
3675161 | Eaton 60-Amp 120/240V Outdoor Disconnect | Eaton | Disconnect | 15.19 | 17.0888
3675161 | Eaton 60-Amp 120/240V Outdoor Disconnect | Eaton | Disconnect | 15.19 | 17.0888
3677249 | Bussmann® 15-Amp Mini-Breaker Circuit Protector | Bussmann | Protector | 9.3 | 10.4625
3677252 | Bussmann® 20-Amp Mini-Breaker Circuit Protector | Bussmann | Protector | 9.3 | 10.4625
3677160 | Cooper Bussmann® AGU Fast-Acting Gold-Plated Glass Tube Fuse | Cooper Bussmann | Fuse | 3.55 | 3.9937
3677156 | Cooper Bussmann® AGC Fast-Acting Glass Tube Fuse Assortment - 61 Pack | Cooper Bussmann | Fuse | 16.27 | 18.3038
3676655 | Cooper Bussmann® FRS Time-Delay Heavy Duty Cartridge Fuse | Cooper | Fuse | 10.24 | 11.52
3676461 | Cooper Bussmann® Tamper-Proof Plug Fuse | Cooper | Fuse | 6.22 | 6.9975
3677340 | Cooper Bussmann® 5-Amp Time-Delay Fuse - 2 Pack | Cooper Bussmann | Fuse | 5.14 | 5.7825
3677029 | Cooper Bussmann® Class G Time-Delay Mini Cartridge Rejection Fuse | Cooper Bussmann | Fuse | 9.32 | 10.485
3676907 | Cooper Bussmann® SA 20 To 30-Amp Tamper-Proof Fustat Adapter - 3 Pack | Cooper Bussmann | Fuse | 6.45 | 7.2563
3676622 | Cooper Bussmann® Tamper-Proof Fustat Heavy Duty Plug Fuse | Cooper | Fuse | 4.34 | 4.8825
3676677 | Cooper Bussmann® FRN Time-Delay Cartridge Fuse | Cooper | Fuse | 12.9 | 14.5125
3676751 | Cooper Bussmann® FRN 20-Amp Time-Delay Easy ID Cartridge Fuses - 2 pack | Cooper Bussmann | Fuse | 12.45 | 14.0062
3677392 | Cooper Bussmann® GMA Fast-Acting Glass Tube Cartridge Fuse | Cooper | Fuse | 3.69 | 4.1513
3677164 | Cooper Bussmann® MDL Time-Delay Glass Tube Fuse | Cooper | Fuse | 3.25 | 3.6562
3676753 | Cooper Bussmann® FRN 30-Amp Time-Delay Easy ID Cartridge Fuses - 2 pack | Cooper Bussmann | Fuse | 12.45 | 14.0062
3676501 | Cooper Bussmann® SL Fustat Assortment Rejection Base with Tester Kit | Cooper | Fuse | 9.74 | 10.9575
3676755 | Cooper Bussmann® FRN 40-Amp Time-Delay Easy ID Cartridge Fuses - 2 Pack | Cooper Bussmann | Fuse | 14.49 | 16.3012
3676982 | Cooper Bussmann® 3-Amp Light Set Strand Saver Fuse - 5 Pack | Cooper Bussmann | Fuse | 3.82 | 4.2975
3677085 | Cooper Bussmann® AGC Fast-Acting Glass Tube Fuse | Cooper | Fuse | 1.95 | 2.1938
3676980 | Cooper Bussmann® 3-Amp Fast-Acting Christmas Light Set Fuse - 5 Pack | Cooper Bussmann | Fuse | 3.55 | 3.9937
3676855 | Cooper Bussmann® Handy Box Cover 2-1/4" Fuse Holder Only 1 Card | Cooper Bussmann | Fuse | 7.98 | 8.9775
3676910 | Cooper Bussmann® AGC Fast-Acting Mobile Phone / Stereos / Electronics Fuses - 5 pack | Cooper Bussmann | Fuse | 3.36 | 3.78
3676978 | Cooper Bussmann® GMC 5-Amp Time-Delay Glass Tube Fuse - 2 Pack | Cooper Bussmann | Fuse | 2.22 | 2.4975
3676541 | Cooper Bussmann® Fusetron Time-Delay Dual Element Plug Fuse | Cooper | Fuse | 6.67 | 7.5038
3676871 | Cooper Bussmann® 15-Amp Handy Box Cover 2-1/4" Fuse Holder Receptacle | Cooper | Fuse | 11.56 | 13.005
3676450 | Cooper Bussmann® 1- To 60-Amp Cartridge Fuse Puller | Cooper Bussmann | Fuse | 9.12 | 10.26
3677061 | Cooper Bussmann® ABC Fast-Acting Microwave Fuse | Cooper | Fuse | 3.55 | 3.9937
3676923 | Cooper Bussmann® MDL, GDC Time-Delay Computer Fuse Assortment/Peripherals - 5 Pack | Cooper Bussmann | Fuse | 4.43 | 4.9837
3676510 | Cooper Bussmann® TL Time-Delay Plug Fuse | Cooper | Fuse | 6.39 | 7.1887
3677020 | Cooper Bussmann® FNM Fusetron Time-Delay Cartridge Fuse | Cooper | Fuse | 9.77 | 10.9912
3676758 | Cooper Bussmann® NON Fast-Acting Cartridge Fuse | Cooper | Fuse | 2.39 | 2.6888
3676981 | Cooper Bussmann® Fast-Acting Christmas Fuse Assortment - 5 Pack | Cooper | Fuse | 3.55 | 3.9937
3676897 | Cooper Bussmann® SA 15 To 20-Amp Tamper-Proof Fustat Adapter - 3 Pack | Cooper Bussmann | Fuse | 6.45 | 7.2563
3677362 | Cooper Bussmann® 30-Amp Max Glass Tube In-Line Fuse Holder | Cooper Bussmann | Fuse | 2.39 | 2.6888
3651500 | Sigma ProConnex™ Snap-In Bushing | Sigma | Bushing | 0.25 | 0.28125
3651358 | Sigma ProConnex™ Rigid Steel Locknut | Sigma | Rigid | 0.42 | 0.4725
3655902 | Sigma ProConnex™ Rigid 2-Hole Strap | Sigma | Rigid | 0.44 | 0.495
3651248 | Sigma ProConnex™ Rigid Plastic Insulating Bushing | Sigma | Rigid | 0.5 | 0.5625
3653804 | Sigma ProConnex™ AC/MC/Flex Squeeze Connector | Sigma | AC/MC/FLEX | 0.61 | 0.68625
3654644 | Carlon® ENT Coupler | Carlon | ENT | 0.61 | 0.68625
3652886 | Carlon® PVC 1-Hole Conduit Support Snap Strap | Carlon | PVC | 0.64 | 0.72
3654628 | Carlon® ENT Terminal Adapter | Carlon | ENT | 0.65 | 0.73125
3652224 | Carlon® PVC Box Adapter | Carlon | PVC | 0.66 | 0.7425
3654750 | Sigma ProConnex™ EMT Steel Compression Coupling | Sigma | EMT | 0.7 | 0.7875
3651472 | Sigma ProConnex™ AC/MC/Flex Screw-In Coupler | Sigma | AC/MC/FLEX | 0.71 | 0.79875
3655889 | Sigma ProConnex™ 1" Rigid 1-Hole Strap | Sigma | Rigid | 0.73 | 0.82125
3653289 | Sigma ProConnex™ EMT Set Screw Coupling | Sigma | EMT | 0.77 | 0.86625
3655863 | Sigma ProConnex™ 1/2" Rigid 1-Hole Strap - 4 Pack | Sigma | Rigid | 0.77 | 0.86625
3653002 | Carlon® Schedule 40 Standard Radius 90-Degree Belled End Elbow | Carlon® Schedule | Elbow | 0.78 | 0.8775
3653015 | Carlon® Schedule 40 Standard Radius 45-Degree Belled End Elbow | Carlon® Schedule | Elbow | 0.8 | 0.9
3652889 | Carlon® 2-Hole Conduit Support Snap Strap | Carlon | Rigid | 0.87 | 0.97875
3655847 | Sigma ProConnex™ Rigid Conduit Nipple | Sigma | Rigid | 0.87 | 0.97875
3655726 | Sigma ProConnex™ 1-1/4"-1" Reducing Washer - 2 Pack | Sigma | Rigid | 0.87 | 0.97875
3654720 | Sigma ProConnex™ EMT Steel Compression Connector | Sigma | EMT | 0.88 | 0.99
3651184 | Sigma ProConnex™ EMT 1-Hole Strap | Sigma | EMT | 0.94 | 1.0575
3653374 | Sigma ProConnex™ Conduit Hanger | Sigma | Rigid | 0.97 | 1.0913
3654670 | Carlon® ENT Threaded Adapter | Carlon | Rigid | 1 | 1.125
3651207 | Sigma ProConnex™ 1/2" EMT 2-Hole Strap | Sigma | ENT | 1 | 1.125
3655728 | Sigma ProConnex™ 1-1/2"-1-1/4" Reducing Washer - 2 Pack | Sigma | EMT | 1 | 1.125
3653276 | Sigma ProConnex™ EMT Set Screw Connector | Sigma | Rigid | 1.05 | 1.1813
3655736 | Sigma ProConnex™ 3/4" Rigid Reducing Bushing | Sigma | Rigid | 1.05 | 1.1813
3653400 | Sigma ProConnex™ Rigid Iron Clamp Spacer and Pipe Strap | Sigma | Rigid | 1.05 | 1.1813
3651891 | Sigma ProConnex™ EMT Rain Tight Compression Coupling | Sigma | EMT | 1.05 | 1.1813
3655500 | Southwire SIMPush 1/2" EMT Coupling | Southwire SIMPush | EMT | 1.09 | 1.2263
3652016 | Carlon® PVC Pipe End Cap | Carlon | PVC | 1.14 | 1.2825
3655752 | Sigma ProConnex™ 1" Rigid Reducing Bushing | Sigma | Rigid | 1.14 | 1.2825
3654400 | Single MC Strap Steel Stud 2/Bag | Single | MC | 1.15 | 1.2937
3654401 | Double MC Strap Steel Stud 2/Bag | Double | MC | 1.24 | 1.395
3651294 | Sigma ProConnex™ 1/2" EMT Set Screw Coupling | Sigma | EMT | 1.4 | 1.575
3654402 | MC Strap Stacker 20/Bag | MC | MC | 4.44 | 4.995
3655876 | Sigma ProConnex™ 3/4" Rigid 1-Hole Strap - 3 Pack | Sigma | Rigid | 1.14 | 1.2825
3655725 | Sigma ProConnex™ 1-1/4"-3/4" Reducing Washer - 2 Pack | Sigma | Washer | 1.14 | 1.2825
3653797 | Sigma ProConnex™ 3/8" AC/MC/Flex Duplex Connector | Sigma | AC/MC/FLEX | 1.14 | 1.2825
3652034 | Carlon® End Bell | Carlon | END BELL | 1.15 | 1.2937
3654418 | Sigma ProConnex™ AC/MC/Flex Snap Lock® Connector | Sigma | AC/MC/FLEX | 1.15 | 1.2937
3652891 | Carlon® 2-Hole Conduit Support Snap Strap | Carlon | Rigid | 1.19 | 1.3387
3655724 | Sigma ProConnex™ 1" Reducing Washer - 4 Pack | Sigma | Washer | 1.19 | 1.3387
3655711 | Sigma ProConnex™ 1-1/2" Reducing Washer - 4 Pack | Sigma | Washer | 1.19 | 1.3387
3653302 | Sigma ProConnex™ EMT Compression Coupling | Sigma | EMT | 1.23 | 1.3838
3651240 | 1/2" EMT Bushing | 1/2" EMT Bushing | EMT | 1.27 | 1.4287
3651278 | Sigma ProConnex™ 1/2" EMT Set Screw Connector - 3 Pack | Sigma | EMT | 1.3 | 1.4625
3656231 | Sigma ProConnex™ 1-1/2" EMT 2-Hole Strap | Sigma | EMT | 1.32 | 1.485
3651210 | Sigma ProConnex™ 3/4" EMT 2-Hole Strap | Sigma | EMT | 1.32 | 1.485
3651065 | Sigma ProConnex™ EMT Snap Lock® Compression Connector | Sigma | EMT | 1.33 | 1.4963
3651058 | Sigma ProConnex™ 3/4" Reducing Washer - 4 Pack | Sigma | Washer | 1.34 | 1.5075
3643985 | Sigma ProConnex™ AC/MC/Flex 1-Hole Strap | Sigma | AC/MC/FLEX | 1.38 | 1.5525
3656118 | Sigma ProConnex™ Rigid Threaded Coupling | Sigma | Rigid | 1.4 | 1.575
3651304 | Sigma ProConnex™ 3/4" EMT Set Screw Coupling | Sigma | EMT | 1.41 | 1.5862
3654705 | Sigma ProConnex™ EMT Steel Set Screw Coupling | Sigma | EMT | 1.41 | 1.5862
3654314 | Sigma ProConnex™ EMT to Flex Set Screw Coupling | Sigma | EMT | 1.41 | 1.5862
3653505 | Sigma ProConnex™ SEU 2-Hole Strap | Sigma | SEU | 1.41 | 1.5862
3654635 | Carlon® 1" Snap-In Male Adapter | Carlon | MALE | 1.42 | 1.5975
3651075 | Sigma ProConnex™ EMT Snap Lock® Compression Coupling | Sigma | EMT | 1.42 | 1.5975
3654730 | Sigma ProConnex™ EMT Steel Pipe Cap | Sigma | EMT | 1.42 | 1.5975
3654405 | Sigma ProConnex™ AC/MC/Flex Connector | Sigma | AC/MC/FLEX | 1.42 | 1.5975
3652300 | Carlon® PVC Offset | Carlon | PVC | 1.47 | 1.6538
3655503 | Southwire SIMPush 1/2" EMT Box Connector | Southwire SIMPush | EMT | 1.49 | 1.6763
3655892 | Sigma ProConnex™ 1-1/2" Rigid 1-Hole Strap - 2 Pack | Sigma | Rigid | 1.5 | 1.6875
3651003 | Sigma ProConnex™ 3/8" NM Connector | Sigma | NM | 1.5 | 1.6875
3653826 | Sigma ProConnex™ AC/MC/Flex Screw-In Connector | Sigma | AC/MC/FLEX | 1.5 | 1.6875
3654390 | Sigma ProConnex™ AC/MC/Flex Double Snap Lock® Connector | Sigma | AC/MC/FLEX | 1.52 | 1.71
3654350 | Sigma ProConnex™ 1/2" NM Snap-In Plastic Connector - 6 Pack | Sigma | NM | 1.55 | 1.7438
3653344 | Sigma ProConnex™ 1" EMT 2-Hole Strap | Sigma | EMT | 1.57 | 1.7663
3653855 | Sigma ProConnex™ AC/MC/Flex Anti-Short Bushing | Sigma | AC/MC/FLEX | 1.58 | 1.7775
3651061 | Sigma ProConnex™ EMT Compression Connector | Sigma | EMT | 1.83 | 2.0587
3654073 | Sigma ProConnex™ NM Straight Liquid Tight Connector | Sigma | NM | 1.89 | 2.1262
3655876 | Sigma ProConnex™ 3/4" Rigid 1-Hole Strap - 3 Pack | Sigma | Rigid | 1.14 | 1.2825
3653386 | Sigma ProConnex™ 1-1/4" Rigid 1-Hole Strap - 4 Pack | Sigma | Rigid | 1.58 | 1.7775
3650801 | Sigma ProConnex™ 3/8" NM Snap Lock® Cable Connector - 2 Pack | Sigma | NM | 1.58 | 1.7775
3655520 | Southwire SIMPush 3/4" EMT Coupling | Southwire SIMPush | EMT | 1.59 | 1.7888
3651508 | Sigma ProConnex™ Knock-Out Seal | Sigma | SEAL | 1.6 | 1.8
3651880 | Sigma ProConnex™ EMT Rain Tight Compression Connector | Sigma | EMT | 1.63 | 1.8337
3655643 | Sigma ProConnex™ 2" Reducing Washer - 2 Pack | Sigma | Washer | 1.67 | 1.8787
3654301 | Sigma ProConnex™ EMT to NM Set Screw Coupling | Sigma | EMT | 1.68 | 1.89
3651622 | Carlon®Schedule 80 Standard Radius 45-Degree Elbow | Carlon®Schedule | Rigid | 1.74 | 1.9575
3651016 | Sigma ProConnex™ 3/4" NM Connector | Sigma ProConnex | NM | 1.74 | 1.9575
3651142 | Sigma ProConnex™ EMT Nail Drive Strap | Sigma | EMT | 1.74 | 1.9575
3653771 | Sigma ProConnex™ AC/MC/Flex 90° Angle Squeeze Connector | Sigma | AC/MC/FLEX | 1.76 | 1.98
3653399 | Sigma ProConnex™ 2" Rigid 1-Hole Strap - 2 Pack | Sigma | Rigid | 1.76 | 1.98
3655523 | Southwire SIMPush 3/4" EMT Box Connector | Southwire SIMPush | EMT | 1.77 | 1.9912
3654441 | Sigma ProConnex™ 3/8" AC/MC/Flex Cut-In Connector - 2 Pack | Sigma ProConnex | AC/MC/FLEX | 1.77 | 1.9912
3651241 | 3/4" EMT Bushing (10-Pack) | 3/4" EMT | EMT | 1.77 | 1.9912
3650978 | 1/2" Push-In NM Connector (10/Bag) | 1/2" Push | NM | 1.77 | 1.9912
3653506 | Sigma ProConnex™ SEU 1-Hole Strap | Sigma | SEU | 1.85 | 2.0813
3655754 | Sigma ProConnex™ 1-1/4" Rigid Iron Reducing Bushing | Sigma | Rigid | 1.89 | 2.1262
3654420 | Sigma ProConnex™ 3/8" AC/MC/Flex Snap Lock® Duplex Connector | Sigma ProConnex | AC/MC/FLEX | 1.89 | 2.1262
3654050 | Carlon® 1/2" Straight Liquidtight Fitting | Carlon® 1/2" Straight | Liquidtight | 1.94 | 2.1825
3655656 | Sigma ProConnex™ 2" Reducing Washer - 2 Pack | Sigma ProConnex | Washer | 1.94 | 2.1825
3654394 | Sigma ProConnex™ 3/8" AC/MC/Flex Double Snap Lock® Duplex Connector | Sigma ProConnex | AC/MC/FLEX | 1.94 | 2.1825
3654397 | Sigma ProConnex™ AC/MC/Flex Double Snap Lock® 90° Angle Squeeze Connector | Sigma | AC/MC/FLEX | 1.94 | 2.1825
3651281 | Sigma ProConnex™ 3/4" EMT Set Screw Connector - 2 Pack | Sigma | EMT | 1.94 | 2.1825
3651000 | Sigma ProConnex™ 3/8"-1/2" NM 2-Piece Connector - 5 Pack | Sigma | NM | 1.96 | 2.205
3650871 | Saddle 3/8" Duplex Connector | Saddle 3/8" Duplex | NM | 2.05 | 2.3062
3651689 | Sigma ProConnex™ 2" EMT 2-Hole Strap | Sigma ProConnex | EMT | 2.05 | 2.3062
3655766 | Sigma ProConnex™ 1-1/2" Rigid Iron Reducing Bushing | Sigma | Rigid | 2.06 | 2.3175
3654290 | Sigma ProConnex™ EMT to Flex Compression Coupling | Sigma | EMT | 2.07 | 2.3287
3655603 | Southwire SIMPush 1/2" LTNM/PVC Box Connector | Southwire SIMPush | PVC | 2.13 | 2.3962
3656480 | Sigma ProConnex™ Service Entrance Cable Connector | Sigma | Service | 2.15 | 2.4187
3656494 | Sigma ProConnex™ 1-1/4" SER Connector | Sigma | SER | 2.2 | 2.475
3653894 | Sigma ProConnex™ UF Cable Connector | Sigma | UF | 2.21 | 2.4863
3655600 | Southwire SIMPush 1/2" LTNM/PVC Coupling | Southwire SIMPush | PVC | 2.22 | 2.4975
3652977 | Carlon® Schedule 80 Standard Radius 90-Degree Elbow | Carlon® Schedule | Elbow | 2.39 | 2.6888
3655824 | Sigma ProConnex™ Rigid Conduit Nipple | Sigma | Rigid | 1.58 | 1.7775
3653386 | Sigma ProConnex™ 1-1/4" Rigid 1-Hole Strap - 4 Pack | Sigma | Rigid | 1.58 | 1.7775
3655513 | Southwire SIMPush 1/2" EMT Wet Location Box Connector | Southwire SIMPush | EMT | 2.31 | 2.5987
3653950 | Sigma ProConnex™ EMT 45° EMT Elbow | Sigma | EMT | 2.4 | 2.7
3655512 | Southwire SIMPush 1/2" EMT Wet Location Coupling | Southwire SIMPush | EMT | 2.45 | 2.7563
3653500 | Sigma ProConnex™ 1/4" OD Midget Ground Wire Strap - 50 Pack | Sigma ProConnex | GND | 2.47 | 2.7788
3655620 | Southwire SIMPush 3/4" LTNM/PVC Coupling | Southwire SIMPush | PVC | 2.48 | 2.79
3654387 | Sigma ProConnex™ 3/8" AC/MC/Flex Double Snap Lock® Connector - 2 Pack | Sigma ProConnex | AC/MC/FLEX | 2.52 | 2.835
3654052 | Carlon® 90 Degree Liquidtight 1-Piece Fitting | Carlon® 90 Degree | Elbow | 2.57 | 2.8912
3650868 | Saddle AC/MC/Flex Connector | Saddle | AC/MC/FLEX | 2.58 | 2.9025
3655931 | Sigma ProConnex™ Rigid Compression Connector | Sigma | Rigid | 2.59 | 2.9137
3653564 | Sigma ProConnex™ AC/MC/Flex Set Screw Connector | Sigma | AC/MC/FLEX | 2.62 | 2.9475
3654026 | Sigma ProConnex™ Box Spacer | Sigma | SPACER | 2.62 | 2.9475
3655623 | Southwire SIMPush 3/4" LTNM/PVC Box Connector | Southwire SIMPush | PVC | 2.63 | 2.9587
3656420 | Sigma ProConnex™ Rigid Insulated Grounding Bushing with Lay-in Lug | Sigma | Rigid | 2.64 | 2.97
3654409 | Sigma ProConnex™ 1/2" Snap-In Connector | Sigma | Connector | 2.65 | 2.9812
3655300 | Harvey™ Electrical PVC Conduit Purple Primer - 4 oz. | Harvey | PVC | 2.65 | 2.9812
3653865 | Sigma ProConnex™ Liquid Tight Straight Connector | Sigma | Connector | 2.65 | 2.9812
3651692 | Sigma ProConnex™ 1-1/4" EMT 2-Hole Strap | Sigma | EMT | 2.65 | 2.9812
3650994 | 3/4" Push-In NM Connector | 3/4" Push-In | NM | 2.66 | 2.9925
3655290 | Harvey™ Electrical PVC Conduit Cement - 4 oz. | Harvey | PVC | 2.75 | 3.0938
3654395 | Sigma ProConnex™ 1/2" AC/MC/Flex Snap Duplex Saddle Connector - 2 Pack | Sigma | AC/MC/FLEX | 2.79 | 3.1387
3651260 | Southwire 1/2" EMT Set Screw Slip Coupling - 3 Pack | Southwire | EMT | 2.89 | 3.2513
3655606 | Southwire SIMPush 1/2" LTNM/PVC 90 Degree Elbow | Southwire | PVC | 2.93 | 3.2963
3653910 | Sigma ProConnex™ Liquid Tight Malleable Iron Straight Connector | Sigma | Connector | 2.94 | 3.3075
3655553 | Southwire SIMPush 1/2" Rigid Box Connector | Southwire SIMPush | Rigid | 3.02 | 3.3975
3654987 | Carlon® Type LR Conduit Body | Carlon | Conduit | 3.03 | 3.4087
3654976 | Carlon® Type LL Conduit Body | Carlon | Conduit | 3.03 | 3.4087
3652400 | Carlon® Type LB Conduit Body | Carlon | Conduit | 3.07 | 3.4537
3653031 | Sigma ProConnex™ Conduit to Conduit Pull Elbow | Sigma | Conduit | 3.08 | 3.465
3656011 | Sigma ProConnex™ Rigid to Rigid Threaded Pull Elbow | Sigma | Rigid | 3.08 | 3.465
3651893 | Sigma ProConnex™ EMT Rain Tight Compression Coupling | Sigma | EMT | 3.1 | 3.4875
3655877 | Sigma ProConnex™ 3/4" Rigid 1-Hole Strap - 25 Pack | Sigma | Rigid | 3.1 | 3.4875
3654058 | Sigma ProConnex™ NM 90° 2-Piece Liquid Tight Connector | Sigma | NM | 3.18 | 3.5775
3653959 | Sigma ProConnex™ EMT 90° Elbow | Sigma | EMT | 3.19 | 3.5888
3654903 | Carlon® Type T PVC Conduit Body | Carlon | PVC | 3.28 | 3.69
3654699 | Sigma ProConnex™ EMT Steel Set Screw Connector | Sigma | EMT | 2.24 | 2.52
3651032 | Sigma ProConnex™ Rigid Offset Nipple | Sigma | Rigid | 2.3 | 2.5875
3655513 | Southwire SIMPush 1/2" EMT Wet Location Box Connector | Southwire SIMPush | EMT | 2.31 | 2.5987
3655639 | Southwire SIMPush 1/2" + 3/4" LTNM/PVC Removal Tool | Southwire | PVC | 3.11 | 3.4987
3654246 | Sigma ProConnex™ AC/MC/Flex Connector | Sigma | AC/MC/FLEX | 3.11 | 3.4987
3653315 | Sigma ProConnex™ EMT to Box Offset Set Screw Connector | Sigma | EMT | 3.11 | 3.4987
3655550 | Southwire SIMPush 1/2" Rigid Coupling | Southwire SIMPush | Rigid | 3.16 | 3.555
3654998 | Carlon® PVC Type C Conduit Body | Carlon | Conduit | 3.26 | 3.6675
3654115 | Sigma ProConnex™ Cord Grip Connector | Sigma | Connector | 3.28 | 3.69
3654110 | 3/4" Low-Profile Strain Relief Non-Metallic Cord Connector | 3/4" Low-Profile | Connector | 3.33 | 3.7462
3653593 | Sigma ProConnex™ 1" NM Connector - 2 Pack | Sigma ProConnex | NM | 3.35 | 3.7688
3654429 | Sigma ProConnex™ AC/MC/Flex Snap Connector | Sigma | AC/MC/FLEX | 3.36 | 3.78
3654084 | 1/2" NMLT 0-90 Degree Connector | 1/2" NMLT | Connector | 3.42 | 3.8475
3654570 | Tectite 1/2" Non-Metallic Straight Push Connector | Tectite 1/2" Non | Connector | 3.44 | 3.87
3655533 | Southwire SIMPush 3/4" EMT Box Connector | Southwire SIMPush | EMT | 3.46 | 3.8925
3655532 | Southwire SIMPush 3/4" EMT Wet Location Coupling | Southwire SIMPush | EMT | 3.52 | 3.96
3653638 | Sigma ProConnex™ Rigid Insulated Water Tight Hub | Sigma | Rigid | 3.52 | 3.96
3653917 | Sigma ProConnex™ EMT 90° Angle Compression Connector | Sigma | EMT | 3.52 | 3.96
3654000 | Sigma ProConnex™ EMT 90° Angle Set Screw Connector | Sigma | EMT | 3.52 | 3.96
3651080 | Southwire 1/2" EMT Compression Slip Coupling - 3 Pack | Southwire | EMT | 3.55 | 3.9937
3655506 | Southwire SIMPush 1/2" EMT to EMT Pull Elbow | Southwire SIMPush | EMT | 3.55 | 3.9937
3656037 | Sigma ProConnex™ Rigid to Box Pull Elbow | Sigma | Rigid | 3.72 | 4.185
3656053 | Sigma ProConnex™ Rigid 90° Elbow | Sigma | Rigid | 3.72 | 4.185
3651883 | Sigma ProConnex™ EMT Rain Tight Compression Connector | Sigma | EMT | 3.81 | 4.2862
3656047 | Sigma ProConnex™ Conduit to Box Pull Elbow | Sigma | Conduit | 3.81 | 4.2862
3654574 | Tectite 1/2" Non-Metallic 90° Push Connector | Tectite | Connector | 3.96 | 4.455
3653535 | Sigma ProConnex™ 1" Service Entrance Conduit Sill Plate | Sigma | Service | 3.98 | 4.4775
3650981 | 1/2" Push-In NM Connector (25-Pack) | 1/2" Push | NM | 4 | 4.5
3651110 | 1/2" PVC Universal Conduit Body | 1/2" PVC Universal | PVC | 4 | 4.5
3651081 | Southwire 3/4" EMT Compression Slip Coupling - 3 Pack | Southwire | EMT | 4 | 4.5
3656496 | Sigma ProConnex™ 2" 4/0 SER Connector | Sigma | SER | 4.02 | 4.5225
3656409 | Sigma ProConnex™ Metal C Conduit Body | Sigma | Metal | 4.36 | 4.905
3655526 | Southwire SIMPush 3/4" EMT to EMT Pull Elbow | Southwire SIMPush | EMT | 4.42 | 4.9725
3655760 | Sigma ProConnex™ 2" Rigid Iron Reducing Bushing | Sigma | Rigid | 4.43 | 4.9837
3655864 | Sigma ProConnex™ 1/2" Rigid 1-Hole Strap - 50 Pack | Sigma | Rigid | 4.43 | 4.9837
3652028 | Carlon® Flexible PVC Elbow | Carlon | PVC | 6.53 | 7.3463
3655599 | Southwire SIMPush 1/2" + 3/4" Rigid Removal Tool | Southwire | RIGID REMOVAL | 3.11 | 3.4987
3655548 | Southwire SIMPush 1/2" + 3/4" EMT Removal Tool | Southwire | EMT REMOVAL | 3.11 | 3.4987
3655549 | Southwire SIMPush 1/2" + 3/4" EMT Watertight Removal Tool | Southwire | EMT WATERTIGHT REMOVAL | 3.11 | 3.4987
3655639 | Southwire SIMPush 1/2" + 3/4" LTNM/PVC Removal Tool | Southwire | PVC | 3.11 | 3.4987
3651621 | Sigma ProConnex™ Clamp-on Service Entrance Head Cap | Sigma | SER | 4.79 | 5.3887
3654097 | 3/4" NMLT 0-90 Degree Connector | 3/4" NMLT | Connector | 4.79 | 5.3887
3655556 | Southwire SIMPush 1/2" Rigid to Rigid Pull Elbow | Southwire SIMPush | Rigid | 4.8 | 5.4
3651711 | Sigma ProConnex™ Combo LLR Rigid/EMT Conduit Body | Sigma | RIGIT | 4.81 | 5.4112
3653913 | Sigma ProConnex™ Liquid Tight Malleable Iron 90° Connector | Sigma | Connector | 4.88 | 5.49
3656464 | Sigma ProConnex™ SEU Water Tight Connector | Sigma | SEU | 4.88 | 5.49
3651111 | 3/4" PVC Universal Conduit Body | 3/4" PVC Universal | Conduit | 4.89 | 5.5012
3655626 | Southwire SIMPush 3/4" LTNM/PVC 90 Degree Elbow | Southwire | PVC | 4.98 | 5.6025
3653881 | Sigma ProConnex™ Liquid Tight 90° Connector | Sigma | Connector | 5.14 | 5.7825
3652855 | Carlon® Rigid Nonmetallic Clamps | Carlon | Rigid | 5.46 | 6.1425
3655957 | Sigma ProConnex™ Rigid Compression Coupling | Sigma | Rigid | 5.59 | 6.2888
3655509 | Southwire SIMPush 1/2" EMT Type LB Conduit Body | Southwire SIMPush | EMT | 5.65 | 6.3563
3650855 | Snap-2-It AC/MC/Flex Connector 5 Pack | Snap-2-It | AC/MC/FLEX | 5.76 | 6.48
3656516 | Sigma ProConnex™ 3#8-3#1 Service Entrance Cable Head | Sigma | SER | 5.95 | 6.6938
3653690 | Sigma ProConnex™ EMT to EMT Pull Elbow | Sigma | EMT | 6.44 | 7.245
3655576 | Southwire SIMPush 3/4" Rigid to Rigid Pull Elbow | Southwire SIMPush | Rigid | 6.49 | 7.3013
3654437 | Metal Stud Bushings 25/Bag | Metal | Bushings | 6.74 | 7.5825
3654439 | 1/2 in. Snap-In Bushings (50-Pack) | 1/2 in | Bushings | 7.11 | 7.9988
3651935 | Sigma ProConnex™ Porcelain Screw-In Insulator and Wire Holder | Sigma | POR | 7.3 | 8.2125
3644528 | Sigma ProConnex™ 4-1/0 Service Entrance Wedge Clamp Connector | Sigma | SER | 8.05 | 9.0563
3655529 | Southwire SIMPush 3/4" EMT Type LB Conduit Body | Southwire SIMPush | EMT | 8.36 | 9.405
3653633 | Sigma ProConnex™ 3/4" EMT Set Screw Connector - 25 Pack | Sigma | EMT | 8.88 | 9.99
3644515 | Sigma ProConnex™ 6-2 Service Entrance Wedge Clamp Connector | Sigma ProConnex | Connector | 9.1 | 10.2375
3656341 | Sigma ProConnex™ Porcelain Clamp-On Insulator and Adjustable Wire Holder | Sigma ProConnex | POR | 9.33 | 10.4962
3651049 | Sigma ProConnex™ 3/4" EMT Two Piece Compression Connector - 15 Pack | Sigma ProConnex | EMT | 9.79 | 11.0137
3653933 | Sigma ProConnex™ EMT Inside Corner Elbow | Sigma | EMT | 10.04 | 11.295
3650995 | 3/4" Push-In Connector (50-Pack) | 3/4" Push | Connector | 10.23 | 11.5088
3655559 | Southwire SIMPush 1/2" Rigid Type LB Conduit Body | Southwire SIMPush | Rigid | 10.46 | 11.7675
3654369 | Sigma ProConnex™ 1/2" EMT Set Screw Connector - 50 Pack | Sigma | EMT | 11.93 | 13.4213
3650979 | 1/2" Push-In Connector (100-Pack) | 1/2" Push | Connector | 13.53 | 15.2212
3655579 | Southwire SIMPush 3/4" Rigid Type LB Conduit Body | Southwire SIMPush | Rigid | 15.21 | 17.1113
3654417 | Sigma ProConnex™ 1/2" AC/MC/Flex Snap Lock® Screw In Connector - 25 Pack | Sigma | AC/MC/FLEX | 17.79 | 20.0137
3655573 | Southwire SIMPush 3/4" Rigid Box Connector | Southwire SIMPush | Rigid | 4.44 | 4.995
3655570 | Southwire SIMPush 3/4" Rigid Coupling | Southwire SIMPush | Rigid | 4.44 | 4.995
3611409 | Allied Moulded 1-Gang 18 Cu.In. Fiberglass Electrical Switch/Outlet Box | Allied Moulded | 1-gang | 0.57 | 0.64125
3613025 | Carlon® 1-Gang 18 Cu.In. PVC New Work Electrical Outlet/Switch Box | Carlon® 1-Gang | 1-gang | 0.59 | 0.66375
3615683 | Legrand® Slater® 1-Gang 18.0 Cu.In. New Work Electrical Switch/Outlet Box | Legrand | 1-gang | 0.61 | 0.68625
3613135 | Carlon® 1-Gang 20 Cu.In. PVC New Work Electrical Switch/Outlet Box | Carlon® 1-Gang | 1-gang | 0.61 | 0.68625
3611645 | Allied Moulded 1-Gang 20 Cu.In. Fiberglass Electrical Switch/Outlet Box | Allied Moulded | 1-gang | 0.7 | 0.7875
3614642 | RACO 4" Galvanized Steel Square Electrical Box | RACO | Steel box | 1.15 | 1.2937
3613026 | Carlon® 1-Gang Super Blue 22 Cu.In. PVC New Work Electrical Switch/Outlet Box | Carlon® 1-Gang | 1-gang | 1.16 | 1.305
3611331 | RACO 4" Galvanized Steel Octagon Electrical Box | RACO | Steel box | 1.24 | 1.395
3615722 | Legrand® Slater®2-Gang 35.0 Cu.In. New Work Electrical Switch/Outlet Box | Legrand | 2-gang | 1.33 | 1.4963
3614644 | RACO 4" Galvanized Steel Square Electrical Box | RACO | Steel box | 1.39 | 1.5637
3614646 | RACO 4" Galvanized Steel Square Junction Box with Bracket | RACO | Steel box | 1.42 | 1.5975
3611852 | RACO 4" Galvanized Steel Square Electrical Box with Bracket | RACO | Steel box | 1.45 | 1.6312
3611849 | RACO 4" Galvanized Steel Square Electrical Box | RACO | Steel box | 1.47 | 1.6538
3611438 | Allied Moulded 1-Gang 14 Cu.In. Fiberglass Electrical Switch/Outlet Box | Allied Moulded | 1-gang | 1.5 | 1.6875
3611218 | RACO 2" Galvanized Steel Handy Electrical Box | RACO | Steel box | 1.58 | 1.7775
3611506 | Allied Moulded Round 15 Cu.In. Fiberglass Electrical Switch/Outlet Box | Allied Moulded | Round | 1.59 | 1.7888
3613177 | Carlon® 1-Gang 8 Cu.In. PVC New Work Bracketed Shallow Electrical Switch/Outlet Box | Carlon® 1-Gang | 1-gang | 1.61 | 1.8113
3613009 | Carlon® 1-Gang 14 Cu.In. PVC Old Work Electrical Switch/Outlet Box | Carlon® 1-Gang | 1-gang | 1.66 | 1.8675
3613067 | Carlon®1-Gang 20 Cu.In. PVC New Work Round Electrical Ceiling Box | Carlon®1-Gang | 1-gang | 1.66 | 1.8675
3611441 | Allied Moulded 2-Gang 32 Cu.In. Fiberglass Electrical Switch/Outlet Box | Allied Moulded | 2-gang | 1.75 | 1.9688
3612307 | RACO 2" Galvanized Steel Handy Electrical Box | RACO | Steel box | 1.94 | 2.1825
3611496 | Allied Moulded Round 22 Cu.In. Fiberglass Electrical Ceiling Box | Allied | Ceiling | 1.96 | 2.205
3611388 | Carlon®1-Gang PVC Old Work Electrical Low-Voltage Bracket | Carlon | 1-gang | 1.99 | 2.2388
3613300 | Carlon® 1-Gang 16 Cu.In. PVC New Work Electrical Box | Carlon® 1-Gang | 1-gang | 2.06 | 2.3175
3613313 | Carlon® 1-Gang 16 Cu.In. PVC New Work Electrical Box | Carlon® 1-Gang | 1-gang | 2.14 | 2.4075
3611108 | RACO 4" Galvanized Steel Square Electrical Box | RACO | Steel box | 2.15 | 2.4187
3612327 | RACO 4" Galvanized Steel Octagon Electrical Box with Bracket | RACO | Steel box | 2.31 | 2.5987
3611219 | RACO 2" Galvanized Steel Switch Electrical Box | RACO | Steel box | 2.35 | 2.6438
3611292 | RACO 2" Galvanized Steel Switch Electrical Box | RACO | Steel box | 2.39 | 2.6888
3612343 | RACO 4" Galvanized Steel Round Electrical Box | RACO | Steel box | 2.45 | 2.7563
3612308 | RACO 2" Galvanized Steel Handy Electrical Box | RACO | Steel box | 2.47 | 2.7788
3611425 | Allied Moulded 2-Gang 28 Cu.In. Fiberglass Electrical Switch/Outlet Box | Allied Moulded | 2-gang | 2.48 | 2.79
3611043 | RACO 4" Galvanized Steel Octagon Electrical Box | RACO | Steel box | 2.49 | 2.8013
3612305 | RACO 2" Galvanized Steel Handy Electrical Box | RACO | Steel box | 2.56 | 2.88
3612314 | RACO 2" Galvanized Steel Handy Electrical Box with Bracket | RACO | Steel box | 3.19 | 3.5888
3613065 | Carlon®1-Gang 18 Cu.In. PVC New Work Round Electrical Ceiling Box | Carlon®1-Gang | 1-gang | 2.51 | 2.8237
3613216 | Carlon® 1-Gang 20 Cu.In. PVC Old Work Electrical Switch/Outlet Box | Carlon® 1-Gang | 1-gang | 2.51 | 2.8237
3613181 | Carlon® Super Blue 1-Gang 24.5 Cu.In. PVC New Work Electrical Ceiling Box | Carlon | 1-gang | 2.51 | 2.8237
3612506 | Carlon®1-Gang 21 Cu.In. PVC New Work Adjustable Horizontal Electrical Switch/Outl... | Carlon®1-Gang | 1-gang | 2.56 | 2.88
3613288 | Carlon® 4" Square PVC New Work Electrical Box | Carlon | PVC electrical | 2.63 | 2.9587
3611454 | Allied Moulded 3-Gang 46 Cu.In. Fiberglass Electrical Switch/Outlet Box | Allied Moulded | 3-gang | 2.82 | 3.1725
3613039 | Carlon® 2-Gang Super Blue 35 Cu.In. PVC New Work Electrical Switch/Outlet Box | Carlon® 2-Gang | 2-gang | 2.88 | 3.24
3611685 | RACO 4" Galvanized Steel Square Electrical Box with Bracket | RACO | Steel box | 2.92 | 3.285
3611357 | RACO 2" Galvanized Steel Switch Electrical Box | RACO | Steel box | 3.11 | 3.4987
3612181 | RACO 4" Galvanized Steel Octagon Electrical Box with Bar Hanger | RACO | Steel box | 3.2 | 3.6
3611014 | RACO 4" Galvanized Steel Octagon Electrical Box | RACO | Steel box | 3.23 | 3.6338
3613054 | Carlon® 4 In. 18 Cu.In. PVC New Work Square New Work Outlet Box | Carlon® 4 In | PVC electrical | 3.28 | 3.69
3615719 | Legrand® Slater® 2-Gang 32.0 Cu.In. Old Work Electrical Switch/Outlet Box | Legrand | 2-gang | 3.29 | 3.7012
3613042 | Carlon® 3-Gang Super Blue 53 Cu.In. PVC New Work Electrical Switch/Outlet Box | Carlon® 3-Gang | 3-gang | 3.29 | 3.7012
3612194 | RACO 4" Galvanized Steel Square Electrical Box with Bracket | RACO | Steel box | 3.4 | 3.825
3612505 | Carlon® 1-Gang 21 Cu.In. PVC New Work Adjustable Electrical Switch/Outlet Box | Carlon® 1-Gang | 1-gang | 3.53 | 3.9712
3613280 | Carlon® 4" Octagon PVC New Work Electrical Ceiling Box | Carlon | PVC electrical | 3.54 | 3.9825
3612527 | RACO 4" Steel Round Ceiling Fan/Fixture Electrical Box | RACO | Round fixture | 3.63 | 4.0838
3611288 | RACO 2" Galvanized Steel Switch Electrical Box | RACO | Steel box | 3.67 | 4.1288
3613085 | Carlon® 1-Gang 20 Cu.In. PVC New Work Round Electrical Ceiling Box | Carlon® 1-Gang | 1-gang | 3.77 | 4.2412
3613041 | Carlon® 3-Gang 44 Cu.In. PVC New Work Electrical Switch/Outlet Box | Carlon® 3-Gang | 3-gang | 3.77 | 4.2412
3613084 | Carlon® Super Blue 1-Gang 25 Cu.In. PVC New Work Electrical Ceiling Box with Hang... | Carlon® Super | 1-gang | 3.88 | 4.365
3611483 | Allied Moulded Round 22 Cu.In. Fiberglass Electrical Ceiling Box with Hanger | Allied Moulded | celing | 3.89 | 4.3762
3611315 | RACO 2" Galvanized Steel Switch Electrical Box | RACO | Steel box | 3.99 | 4.4888
3613315 | Carlon® 1-Gang 22 Cu.In. PVC New Work Electrical Switch/Outlet Box | Carlon® 1-Gang | 1-gang | 4.04 | 4.545
3611109 | RACO 4" Galvanized Steel Square Electrical Box | RACO | Steel box | 4.17 | 4.6913
3613055 | Carlon® 4 In. 32 Cu.In. PVC New Work Square Electrical Switch/Outlet Box | Carlon® 4 In | 4-gang | 4.21 | 4.7363
3614750 | Carlon® 1-Gang 23 Cu.In. PVC New Work Draft-Tight Electrical Switch/Outlet Box | Carlon® 1-Gang | 1-gang | 4.31 | 4.8487
3613031 | Carlon®1-Gang 18 Cu.In. PVC New Work Shallow New Work Outlet Box | Carlon®1-Gang | 1-gang | 4.41 | 4.9612
3612531 | RACO 4" Galvanized Steel Round Old Work Electrical Pan Box | RACO | Steel box | 4.42 | 4.9725
3612576 | RACO 4? Nonmetallic Round Ceiling Fan and Fixture SADDLE-BOX® | RACO | celing | 4.43 | 4.9837
3613217 | Carlon® 1-Gang 18 Cu.In. PVC Old Work Electrical Switch/Outlet Box | Carlon® 1-Gang | 1-gang | 4.49 | 5.0513
3612529 | RACO 4" Steel Round Ceiling Fan/Fixture Electrical Box | RACO | Ceiling | 4.61 | 5.1863
3611195 | RACO 4-11/16" Galvanized Steel Square Electrical Box | RACO | Steel box | 4.61 | 5.1863
3613149 | Carlon® 2-Gang 34 Cu.In. PVC Old Work Electrical Switch/Outlet Box | Carlon® 2-Gang | 2-gang | 4.68 | 5.265
3612530 | RACO 4" Steel Round Ceiling Fan/Fixture Electrical Box | RACO | Round fixture | 6.21 | 6.9863
3613065 | Carlon®1-Gang 18 Cu.In. PVC New Work Round Electrical Ceiling Box | Carlon®1-Gang | 1-gang | 2.51 | 2.8237
3612556 | Carlon®2-Gang 20.5 Cu.In. PVC New Work Electrical Dual-Voltage Box/Bracket | Carlon | PVC | 4.73 | 5.3213
3611294 | RACO 2" Galvanized Steel Switch Electrical Box | RACO | Steel box | 5.11 | 5.7488
3614759 | Carlon® 1-Gang 26 Cu.In. PVC New Work Vapor Barrier Electrical Switch/Outlet Box | Carlon® 1-Gang | 1-gang | 5.33 | 5.9962
3614751 | Carlon® 2-Gang 36 Cu.In. PVC New Work Draft-Tight Electrical Switch/Outlet Box | Carlon® 2-Gang | PVC | 5.51 | 6.1987
3615007 | RACO 2" Galvanized Steel Switch Electrical Box | RACO | Steel box | 5.86 | 6.5925
3613317 | Carlon® 2-Gang 4" Square PVC New Work Electrical Switch/Outlet Box | Carlon® 2-Gang | 2-gang | 5.86 | 6.5925
3614820 | Carlon® 3-Gang 55 Cu.In. PVC Old Work Electrical Switch/Outlet Box | Carlon® 3-Gang | 3-gang | 5.86 | 6.5925
3612313 | RACO 4" Galvanized Steel Handy Electrical Box | RACO | Steel box | 5.95 | 6.6938
3615777 | Legrand® Slater® Round 20 Cu.In. New Work Electrical Ceiling Box with Side Br... | Legrand | Ceiling | 6.18 | 6.9525
3612518 | Carlon®2-Gang 34 Cu.In. PVC New Work Adjustable Electrical Switch/Outlet Box | Carlon®2-Gang | 2-gang | 6.54 | 7.3575
3612260 | RACO 4" Galvanized Steel Handy Electrical Box with Bracket | RACO | Steel box | 6.68 | 7.515
3614754 | Carlon® 3-Gang 54 Cu.In. PVC New Work Draft-Tight Electrical Switch/Outlet Box | Carlon® 3-Gang | 3-gang | 7.11 | 7.9988
3612522 | RACO 4" Steel Round Ceiling Fan/Fixture Electrical Box and Bracket | RACO | Round | 8.17 | 9.1913
3614757 | Carlon®1-Gang 26 Cu.In. PVC New Work Draft-Tight Electrical Ceiling Box | Carlon®1-Gang | PVC | 8.67 | 9.7538
3612589 | RACO 3-Gang Galvanized Steel Switch Electrical Box | RACO | 3-gang | 9.72 | 10.935
3610934 | 8" Ceiling Medium Fan Box | 8" Ceiling | Fan box | 11.56 | 13.005
3612495 | Cathedral Peak Ceiling Fan Box | Cathedral | Fan box | 22.24 | 25.02

## pivot table
Family | celing
Row Labels | Average of UNIT PRICE
RACO 4? Nonmetallic Round Ceiling Fan and Fixture SADDLE-BOX® | 4.9837
This shape represents a slicer. Slicers are supported in Excel 2010 or later. If the shape was modified in an earlier version of Excel, or if the workbook was saved in Excel 2003 or earlier, the slicer cannot be used.

## Conduit
E.M.T. is used in both concealed and exposed work in commercial and residential applications where, during or after installation, exposed conductors would be subject to physical harm or would be rendered inaccessible inside of walls or ceilings. Individual wires that are not contained within a jacketed cable must also be run in conduit. Some wiring jobs that require the use of conduit cannot be done with E.M.T. but necessitate the use of rigid galvanized steel conduit. Where an explosion-proof system is required or where the conduit is subject to a permanent moisture condition, rigid conduit must be used. Around the home, E.M.T. is usually only used for surface circuit extensions such as patio lighting or for surface-mounted basement and work shop wiring. It is also used to provide physical protection for cables where they pass through an open area. An example of this use would be an underground cable from the exterior wall until it gets to the correct burial depth in the ground and, perhaps, to even beyond the flower bed area. |  |  |  | RIGID | [5 empty] | EMT
|  |  |  | ALL SIZES ARE INCHES |  | INSIDE DIAMETER | OUTSIDE DIAMETER (OD) |  | KNOCKOUT SIZE | INSIDE DIAMETER (ID) | WALL THICKNESS | OUTSIDE DIAMETER (OD)
[6 empty] | (ID) |  |  |  | NOMINAL | NOMINAL | NOMINAL | TOLERANCE
|  |  |  | TRADE SIZE | THREADS PER INCH | NOMINAL (1) | NOMINAL | MAXIMUM (2) | NOMINAL (3) | 0.493 | 0.042 | 0.577 | +/- .005
|  |  |  | 0.25 | 18 | 0.364 | 0.54 | N/A | 0.575 | 0.622 | 0.042 | 0.706 | +/- .005
|  |  |  | 0.375 | 18 | 0.493 | 0.675 | N/A | 0.718 | 0.824 | 0.049 | 0.922 | +/- .005
|  |  |  | 0.5 | 14 | 0.634 | 0.84 | 0.855 | 0.875 | 1.049 | 0.057 | 1.163 | +/- .005
USE RIGID for outdoor or moisture areas only! |  |  |  | 0.75 | 14 | 0.836 | 1.05 | 1.066 | 1.109 | 1.379 | 0.065 | 1.509 | +/- .005
SKU | PRODUCT NAME | Family | UNIT PRICE | 1 | 11-1/2" | 1.063 | 1.315 | 1.331 | 1.375 | 1.609 | 0.065 | 1.74 | +/- .005
3651333 | EMT 1/2" x 10' Conduit | EMT | 5.64 | 1-1/4" | 11-1/2" | 1.394 | 1.66 | 1.676 | 1.734 | 2.067 | 0.065 | 2.197 | +/- .005
3651321 | EMT 1/2" x 20' Conduit | EMT | 11.84 | 1-1/2" | 11-1/2" | 1.624 | 1.9 | 1.916 | 1.984 | 2.731 | 0.072 | * 2.875 | +/- .010
3651346 | EMT 3/4" x 10' Conduit | EMT | 9.75 | 2 | 11-1/2" | 2.083 | 2.375 | 2.399 | 2.469 | 3.356 | 0.072 | * 3..500 | +/- .015
3651322 | EMT 3/4" x 20' Conduit | EMT | 20.48 | 2-1/2" | 8 | 2.489 | 2.875 | 2.904 | 2.969 | 3.834 | 0.083 | * 4.000 | +/- .020
3651388 | EMT 1" x 10' Conduit | EMT | 16.82 | 3 | 8 | 3.09 | 3.5 | 3.535 | 3.594 | 4.334 | 0.083 | * 4.500 | +/- .020
3651323 | EMT 1" x 20' Conduit | EMT | 35.32 | 3-1/2" | 8 | 3.569 | 4 | 4.04 | 4.123
3651414 | EMT 1-1/4" x 10' Conduit | EMT | 26.56 | 4 | 8 | 4.05 | 4.5 | 4.545 | 4.641
3651324 | EMT 1-1/4" x 20' Conduit | EMT | 55.78 | 4-1/2" | 8 | 4.506 | 5 | 5.05 | 5.109
3651401 | EMT 1-1/2" x 10' Conduit | EMT | 31.47 | 5 | 8 | 5.073 | 5.563 | 5.619 | 5.719
3651325 | EMT 1-1/2" x 20' Conduit | EMT | 66.09 | 6 | 8 | 6.093 | 6.625 | 6.691 | 6.813
3651427 | EMT 2" X 10' Conduit | EMT | 36.98
3651326 | EMT 2" X 20' Conduit | EMT | 77.66
3651428 | EMT 2-1/2" x 10' Conduit | EMT | 79.88
3651327 | EMT 2-1/2" x 20' Conduit | EMT | 167.75
3656286 | RIGID 1/2" x 10' Conduit | RIGID | 29.98
3656299 | RIGID 3/4" x 10' Conduit | RIGID | 31.98
3656309 | RIGID 1" x 10' Conduit | RIGID | 48.64
3656312 | RIGID 1-1/4" x 10' Conduit | RIGID | 67.78
3656325 | RIGID 1-1/2" x 10' Conduit | RIGID | 79.98
3656338 | RIGID 2" x 10' Conduit | RIGID | 100
3656339 | RIGID 2-1/2" x 10' Conduit | RIGID | 199.95
3656340 | RIGID 3" x 10' Conduit | RIGID | 264.06
3656342 | RIGID 3-1/2" x 10' Conduit | RIGID | 320
3656343 | RIGID 4" x 10' Conduit | RIGID | 339.11
3652073 | PVC Schedule 40 1/2" x 10' Conduit | PVC | 7.38
3652054 | PVC Schedule 80 1/2" x 10' Conduit | PVC | 10.88
3652075 | PVC Schedule 40 3/4" x 10' Conduit | PVC | 7.3
3652055 | PVC Schedule 80 3/4" x 10' Conduit | PVC | 12.4
3652837 | PVC Schedule 40 1" x 10' Conduit | PVC | 10.15
3652056 | PVC Schedule 80 1" x 10' Conduit | PVC | 16.75
3652277 | PVC Schedule 40 1-1/4"x 10' Conduit | PVC | 18.98
3652057 | PVC Schedule 80 1-1/4"x 10' Conduit | PVC | 23.48
3652594 | PVC Schedule 40 1-1/2"x 10' Conduit | PVC | 18.69
3652604 | PVC Schedule 80 1-1/2"x 10' Conduit | PVC | 25.99
3652280 | PVC Schedule 40 2" x 10' Conduit | PVC | 26.85
3652060 | PVC Schedule 80 2" x 10' Conduit | PVC | 41.98
3652620 | PVC Schedule 40 2-1/2" x 10' Conduit | PVC | 49.98
3652633 | PVC Schedule 80 2-1/2" x 10' Conduit | PVC | 63.98
Note on J2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: RIGID

## Conduit Wire Capacity
Trade Size in Inches |  | Wire Size (THWN, THHN) Conductor Size AWG/kcmil for EMT | [20 empty] | Trade Size in Inches |  | Wire Size (THWN, THHN) Conductor Size AWG/kcmil for PVC Conduit
|  | 14 | 12 | 10 | 8 | 6 | 4 | 3 | 2 | 1 | 1/0" | 2/0" | 3/0" | 4/0" | 250 | 300 | 350 | 400 | 500 | 600 | 700 | 750 |  |  | 14 | 12 | 10 | 8 | 6 | 4 | 3 | 2 | 1 | 1/0" | 2/0" | 3/0" | 4/0" | 250 | 300 | 350 | 400 | 500 | 600 | 700 | 750 | 800 | 900 | 1000
0.5 | 1/2 in EMT | 12 | 9 | 5 | 3 | 2 | 1 | 1 | 1 | 1 | 1 | [11 empty] | 0.25 | 1/2 in SCH 40 | 11 | 8 | 5 | 3 | 1 | 1 | 1 | 1 | 1 | 1
| 1/2 in IMC | 14 | 10 | 6 | 3 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | [11 empty] | 1/2 in SCH 80 | 9 | 6 | 4 | 2 | 1 | 1 | 1 | 1
| 1/2 in GALV | 13 | 9 | 6 | 3 | 2 | 1 | 1 | 1 | 1 | 1 | [11 empty] | 0.5 | 3/4 in SCH 40 | 21 | 15 | 9 | 5 | 4 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1
0.75 | 3/4 in EMT | 22 | 16 | 10 | 6 | 4 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [9 empty] | 3/4 in SCH 80 | 17 | 12 | 7 | 4 | 3 | 1 | 1 | 1 | 1 | 1 | 1 | 1
| 3/4 in IMC | 24 | 17 | 11 | 6 | 4 | 3 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | [8 empty] | 1 | 1 in SCH 40 | 34 | 25 | 15 | 9 | 6 | 4 | 3 | 3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
| 3/4 in GALV | 22 | 16 | 10 | 6 | 4 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [9 empty] | 1 in SCH 80 | 28 | 20 | 13 | 7 | 5 | 3 | 3 | 2 | 1 | 1 | 1 | 1 | 1 | 1
1 | 1 in EMT | 35 | 26 | 16 | 9 | 7 | 4 | 3 | 3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [5 empty] | 1 1/4 | 1 1/4 in SCH 40 | 60 | 43 | 27 | 16 | 11 | 7 | 6 | 5 | 3 | 3 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
| 1 in IMC | 39 | 29 | 18 | 10 | 7 | 4 | 4 | 3 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [5 empty] | 1 1/4 in SCH 80 | 51 | 37 | 23 | 13 | 9 | 6 | 5 | 4 | 3 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
| 1 in GALV | 36 | 26 | 17 | 9 | 7 | 4 | 3 | 3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 1 1/2 | 1 1/2 in SCH 40 | 82 | 59 | 37 | 21 | 15 | 9 | 8 | 7 | 5 | 4 | 3 | 3 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
1 1/4 | 1 1/4 in EMT | 61 | 45 | 28 | 16 | 12 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | 1 1/2 in SCH 80 | 70 | 51 | 32 | 18 | 13 | 8 | 7 | 6 | 4 | 3 | 3 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
| 1 1/4 in IMC | 68 | 49 | 31 | 18 | 13 | 8 | 6 | 5 | 4 | 3 | 3 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 2 in SCH 40 | 135 | 99 | 62 | 36 | 26 | 16 | 13 | 11 | 8 | 7 | 6 | 5 | 4 | 3 | 3 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
| 1 1/4 in GALV | 63 | 46 | 29 | 16 | 12 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | 2 in SCH 80 | 118 | 86 | 54 | 31 | 22 | 14 | 12 | 10 | 7 | 6 | 5 | 4 | 3 | 3 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
1 1/2 | 1 1/2 in EMT | 84 | 61 | 38 | 22 | 16 | 10 | 8 | 7 | 5 | 4 | 3 | 3 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 1/2 | 2 1/2 in SCH 40 | 193 | 141 | 89 | 51 | 37 | 22 | 19 | 16 | 12 | 10 | 8 | 7 | 6 | 4 | 4 | 3 | 3 | 2 | 1 | 1 | 1 | 1 | 1 | 1
| 1 1/2 in IMC | 91 | 67 | 42 | 24 | 17 | 11 | 9 | 7 | 5 | 4 | 4 | 3 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 2 1/2 in SCH 80 | 170 | 124 | 78 | 45 | 32 | 20 | 17 | 14 | 10 | 9 | 7 | 6 | 5 | 4 | 3 | 3 | 3 | 2 | 1 | 1 | 1 | 1 | 1 | 1
| 1 1/2 in GALV | 85 | 62 | 39 | 22 | 16 | 10 | 8 | 7 | 5 | 4 | 3 | 3 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 3 | 3 in SCH 40 | 299 | 218 | 137 | 79 | 57 | 35 | 30 | 25 | 18 | 15 | 13 | 11 | 9 | 7 | 6 | 5 | 5 | 4 | 3 | 3 | 2 | 2 | 2 | 1
2 | 2 in EMT | 138 | 101 | 63 | 36 | 26 | 16 | 13 | 11 | 8 | 7 | 6 | 5 | 4 | 3 | 3 | 2 | 1 | 1 | 1 | 1 | 1 |  | 3 in SCH 80 | 265 | 193 | 122 | 70 | 51 | 31 | 26 | 22 | 16 | 14 | 11 | 9 | 8 | 6 | 5 | 5 | 4 | 3 | 3 | 2 | 2 | 2 | 1 | 1
| 2 in IMC | 149 | 109 | 69 | 39 | 28 | 17 | 15 | 12 | 9 | 8 | 6 | 5 | 4 | 3 | 3 | 2 | 2 | 1 | 1 | 1 | 1 | 3 1/2 | 3 1/2 in SCH 40 | 401 | 293 | 184 | 106 | 77 | 47 | 40 | 33 | 25 | 21 | 17 | 14 | 12 | 10 | 8 | 7 | 6 | 5 | 4 | 4 | 3 | 3 | 3 | 3
| 2 in GALV | 140 | 102 | 64 | 37 | 27 | 16 | 14 | 11 | 8 | 7 | 6 | 5 | 4 | 3 | 3 | 2 | 2 | 1 | 1 | 1 | 1 |  | 3 1/2 in SCH 80 | 358 | 261 | 164 | 95 | 68 | 42 | 35 | 30 | 22 | 18 | 15 | 13 | 10 | 8 | 7 | 6 | 6 | 5 | 4 | 3 | 3 | 3 | 3 | 2
2 1/2 | 2 1/2 in EMT | 241 | 176 | 111 | 64 | 46 | 28 | 24 | 20 | 15 | 12 | 10 | 8 | 7 | 6 | 5 | 4 | 4 | 3 | 2 | 2 | 1 | 4 | 4 in SCH 40 | 517 | 377 | 238 | 137 | 99 | 61 | 51 | 43 | 32 | 27 | 22 | 18 | 15 | 12 | 11 | 9 | 8 | 7 | 5 | 5 | 4 | 4 | 4 | 3
| 2 1/2 in IMC | 211 | 154 | 97 | 56 | 40 | 25 | 21 | 17 | 13 | 11 | 9 | 7 | 6 | 5 | 4 | 4 | 3 | 3 | 2 | 1 | 1 |  | 4 in SCH 80 | 464 | 338 | 213 | 123 | 89 | 54 | 46 | 39 | 29 | 24 | 20 | 17 | 14 | 11 | 9 | 8 | 7 | 6 | 5 | 4 | 4 | 4 | 3 | 3
| 2 1/2 in GALV | 200 | 146 | 92 | 53 | 38 | 23 | 20 | 17 | 12 | 10 | 8 | 7 | 6 | 5 | 4 | 3 | 3 | 2 | 1 | 1 | 1 | 5 | 5 in SCH 40 | 815 | 594 | 374 | 216 | 156 | 96 | 81 | 68 | 50 | 42 | 35 | 29 | 24 | 20 | 17 | 15 | 13 | 11 | 9 | 8 | 7 | 7 | 6 | 6
3 | 3 in EMT | 364 | 266 | 167 | 96 | 69 | 43 | 36 | 30 | 22 | 19 | 16 | 13 | 11 | 9 | 7 | 6 | 6 | 5 | 4 | 3 | 3 |  | 5 in SCH 80 | 736 | 537 | 338 | 195 | 141 | 86 | 73 | 61 | 45 | 38 | 32 | 26 | 22 | 18 | 15 | 13 | 12 | 10 | 8 | 7 | 7 | 6 | 6 | 5
| 3 in IMC | 326 | 238 | 150 | 86 | 62 | 38 | 32 | 27 | 20 | 17 | 14 | 12 | 9 | 8 | 7 | 6 | 5 | 4 | 3 | 3 | 3 | 6 | 6 in SCH 40 | >1K* | 859 | 541 | 312 | 225 | 138 | 117 | 98 | 73 | 61 | 51 | 42 | 35 | 28 | 24 | 21 | 19 | 16 | 13 | 11 | 11 | 10 | 9 | 8
| 3 in GALV | 309 | 225 | 142 | 82 | 59 | 36 | 31 | 26 | 19 | 16 | 13 | 11 | 9 | 7 | 6 | 5 | 5 | 4 | 3 | 3 | 3 |  | 6 in SCH 80 | >1K* | 770 | 485 | 279 | 202 | 124 | 105 | 88 | 65 | 55 | 46 | 38 | 31 | 25 | 22 | 19 | 17 | 14 | 12 | 10 | 9 | 9 | 8 | 7
3 1/2 | 3 1/2 in EMT | 476 | 347 | 219 | 126 | 91 | 56 | 47 | 40 | 29 | 25 | 20 | 17 | 14 | 11 | 10 | 9 | 8 | 6 | 5 | 4 | 4
| 3 1/2 in IMC | 436 | 318 | 200 | 115 | 83 | 51 | 43 | 36 | 27 | 23 | 19 | 16 | 13 | 10 | 9 | 8 | 7 | 6 | 5 | 4 | 4
| 3 1/2 in GALV | 412 | 301 | 189 | 109 | 79 | 48 | 41 | 34 | 25 | 21 | 18 | 15 | 12 | 10 | 8 | 7 | 7 | 5 | 4 | 4 | 4
4 | 4 in EMT | 608 | 443 | 279 | 161 | 116 | 71 | 60 | 51 | 37 | 32 | 26 | 22 | 18 | 15 | 13 | 11 | 10 | 8 | 7 | 6 | 5
| 4 in IMC | 562 | 410 | 258 | 149 | 107 | 66 | 56 | 47 | 35 | 29 | 24 | 20 | 17 | 13 | 12 | 10 | 9 | 7 | 6 | 5 | 5
| 4 in GALV | 531 | 387 | 244 | 140 | 101 | 62 | 53 | 44 | 33 | 27 | 23 | 19 | 16 | 13 | 11 | 10 | 8 | 7 | 6 | 5 | 5

## NM-B Wire
SKU | PRODUCT NAME | Guage | Family | UNIT PRICE
3691630 | 15' 14/2 W/ Ground Wire | 14 | NM-B | 19.36
3691719 | 15' 14/3 W/ Ground Wire | 14 | NM-B | 23.62
3691636 | 25' 14/2 W/ Ground Wire | 14 | NM-B | 22.79
3691720 | 25' 14/3 W/ Ground Wire | 14 | NM-B | 35.23
3691733 | 50' 14/2 W/ Ground Wire | 14 | NM-B | 50.77
3691733 | 50' 14/3 W/ Ground Wire | 14 | NM-B | 66.3
3691652 | 100' 14/2 W/ Ground Wire | 14 | NM-B | 76
3691788 | 100' 14/3 W/ Ground Wire | 14 | NM-B | 104
3691322 | 250' 14/2 W/ Ground Wire | 14 | NM-B | 114.98
3691380 | 250' 14/3 W/ Ground Wire | 14 | NM-B | 130.19
3691306 | 1000' 14/2 W/ Ground Wire | 14 | NM-B | 454.74
3691283 | 1000' 14/3 W/ Ground Wire | 14 | NM-B | 591.48
3691660 | 15' 12/2 W/ Ground Wire | 12 | NM-B | 26
3691745 | 15' 12/3 W/ Ground Wire | 12 | NM-B | 42.21
3691665 | 25' 12/2 W/ Ground Wire | 12 | NM-B | 36.31
3691746 | 25' 12/3 W/ Ground Wire | 12 | NM-B | 62.94
3691678 | 50' 12/2 W/ Ground Wire | 12 | NM-B | 64.79
3691759 | 50' 12/3 W/ Ground Wire | 12 | NM-B | 118
3691681 | 100' 12/2 W/ Ground Wire | 12 | NM-B | 95.99
3691791 | 100' 12/3 W/ Ground Wire | 12 | NM-B | 184.99
3691335 | 250' 12/2 W/ Ground Wire | 12 | NM-B | 152.64
3691393 | 250' 12/3 W/ Ground Wire | 12 | NM-B | 260.76
3691319 | 1000' 12/2 W/ Ground Wire | 12 | NM-B | 610.56
3691296 | 1000' 12/3 W/ Ground Wire | 12 | NM-B | 951.14
3691693 | 15' 10/2 W/ Ground Wire | 10 | NM-B | 40.98
3691761 | 15' 10/3 W/ Ground Wire | 10 | NM-B | 59
3691694 | 25' 10/2 W/ Ground Wire | 10 | NM-B | 65.3
3691762 | 25' 10/3 W/ Ground Wire | 10 | NM-B | 92.48
3691704 | 50' 10/2 W/ Ground Wire | 10 | NM-B | 140
3691775 | 50' 10/3 W/ Ground Wire | 10 | NM-B | 182.68
3691717 | 100' 10/2 W/ Ground Wire | 10 | NM-B | 221.54
3691801 | 100' 10/3 W/ Ground Wire | 10 | NM-B | 246
3691348 | 250' 10/2 W/ Ground Wire | 10 | NM-B | 293.62
3691403 | 250' 10/3 W/ Ground Wire | 10 | NM-B | 433.54
3691452 | 50' 8/2 W/ Ground Wire | 8 | NM-B | 107.17
3691513 | 50' 8/3 W/ Ground Wire | 8 | NM-B | 176.9
3691453 | 75' 8/2 W/ Ground Wire | 8 | NM-B | 148.85
3691539 | 75' 8/3 W/ Ground Wire | 8 | NM-B | 245.7
3691454 | 125' 8/2 W/ Ground Wire | 8 | NM-B | 229
3691429 | 125' 8/3 W/ Ground Wire | 8 | NM-B | 378

## OUTLET
OUTLET NAME | AMP | TYPE
Thin GFCI Tamper Resistant | 15 | GFCI
Thin GFCI Tamper Resistant | 20 | GFCI
Legend Type A/C USB Tamper Resistant | 15 | GFCI W/ USB
Legend Type A/C USB Tamper Resistant | 20 | GFCI W/ USB
Duplex/Decora Outlet ($4) | 15/20 | Outlet
Duplex/Decora Switches ($4) | 15/20 | Swithces

## Charge Table
Work Number | Description | Cost | Ceiling Light | 0
OT-010 | Standard Outlet or Switch with Splicing | 30 | Ceiling Fan | 0
OT-020 | GFCI Outlet with Splicing | 60 | Circuit Breaker | 0
OT-030 | A/C USB Outlet with Splicing | 85
OT-011 | Standard Outlet or Switch w/ New Electrical Box 1-Gang | 35
OT-012 | Standard Outlet or Switch w/ New Electrical Box 2-Gang | 40
OT-013 | Standard Outlet or Switch w/ New Electrical Box 3-Gang | 45
OT-021 | Standard GFCI witch w/ New Electrical Box 1-Gang | 65
OT-022 | Standard GFCI witch w/ New Electrical Box 2-Gang | 70
OT-023 | Standard GFCI witch w/ New Electrical Box 3-Gang | 75
OT-031 | A/C GFCI witch w/ New Electrical Box 1-Gang | 90
OT-032 | A/C GFCI witch w/ New Electrical Box 2-Gang | 95
OT-033 | A/C GFCI witch w/ New Electrical Box 3-Gang | 100
CT-010 | Ceiling Light installation with Splicing | 85
CT-020 | Ceiling Light installation with Splicing & New Box | 100 |  |  | S
CT-030 | Ceiling Fan installation with Splicing & New Box | 205
CR-010 | Circuit Breaker Replacement in Main Panel | 140
CR-020 | Main Panel Wiring Labeling and Check Up | 150